Experimental Request

From: Alexis Prybutok, CTO

To: Engineering Team

Subject: Transport

We are in the process of developing new brass alloys for use in heat exchanger applications. Unfortunately, there isn’t any budget left this year for dedicated test equipment, but before your predecessor quit, he built a homemade test apparatus. However, he didn’t prepare any standard operating procedures (SOP) before he left.

- Please use test apparatus to determine the thermal conductivity and thermal diffusivity of a brass rod using steady state and unsteady state approaches. Which do you recommend for routine analysis? You don’t need to prepare an SOP but carefully explain your procedure and analysis.

We want to use these heat exchangers with lots of different fluids. We have ordered a viscometer with variable temperature control, but it won’t arrive for months. This data will be important in sizing the pumps and minimum pipe diameters. To get a head start:

- Develop a simple experimental method to determine the viscosity of liquids using materials we already have in lab—we think the falling sphere method should work. Be sure to test several liquids and to determine its range of validity, that is, how must the experiment be conducted to produce accurate data. We are also interested in the precision of this experiment so be sure to run the test repeatedly and report the relevant statistics.

We will put these reports in our internal library as references for a forthcoming SOP, so please be sure that they are high quality.

Discussion and Recommendations!